## (68) reactivi 2022
| LABORATOARE ABA MURES | ANUL 2022
20.04.03.
REACTIVI PENTRU LABORATOARE
COD C.P.V. 33696300-8 Reactivi chimici
Cantitate
Nr. Crt. | Denumirea produsului | Caracteristicile de baza (functionale, constructive, etc.) ale produsului | Cantitate totala | U.M. | Mures | Alba | Hunedoara | Arad
0 | 1 | 2 | 3 | 4 | 7 | 8 | 9 | 10
1 | 4-aminoantipirina | ambalaj producator, flacon 10 g, min 99% GR for analysis, VWR, cod 21161.122 | 6 | 10 g |  | 2 | 2 | 2
2 | Acetona | ACETONE PESTANAL - solvent for residue analysis, Cod: 34480 FLUKA | 1 | 2,5 l |  | 1
3 | Acid acetic glacial | ambalaj producator, flacon plastic 1l, min 99% GR for analysis, Merck 1000631000 | 1 | litru |  |  |  | 1
4 | Acid clorhidric ultrapure 32-35%, | ambalaj producator, Carlo Erba ,for trace analysis, cod 403891, flacon 500 ml | 8 | 500 ml | 8
5 | Acid L (+) ascorbic | flacon plastic, 50 grame, min. 99.7%, P.A indigen | 3 | 50 g |  |  | 2 | 1
6 | Acid nicotinic | ambalaj producator flacon 100 g, reactiv pentru analiza, Merck 8187140100 | 1 | 100 g | 1
7 | Acid sulfuric concentrat | ambalaj producator flacon 2.5 litri, 98% GR for analysis Merck, 1007312500 | 5 | 2,5 l |  | 3 |  | 2
8 | Alcool etilic | flacon plastic 1 litru, 96% P.A. indigen Chemical | 1 | litru |  |  |  | 1
9 | Amidon solubil | indigen, ambalaj producator flacon plastic, 100 g, PA | 1 | 100 g | 0 | 1
10 | Apa oxigenata | ambalaj producator flacon plastic, 30 % P.A. Indigen Chemical | 3 | litru | 3
11 | Azotat de argint 0.1 M solutie | c(AgNO3) = 0.1 mol/l (0.1 N) Titripur® Reag. Ph Eur,Reag. Merck, cod: 1090801000 | 1 | litru |  |  | 1
12 | Azotat de potasiu | ambalaj producator,reactiv P.A. min 99 %, flacon plastic 500 gr, Merck cod 1.05063.0500 | 1 | 500 g |  | 1
13 | Metabisulfit de sodiu | for analysis EMSURE® ACS,Reag. Ph Eur, Merck, cod 1065281000 | 1 | 1000 g |  |  | 1
14 | Camfor | ambalaj producator, flacon plastic 250 g Merck cod8414560250 | 1 | 250 g |  |  | 1
15 | Cianura de potasiu | Puritate > 96 % Fluka cod 207810 - 25 G | 1 | 25 g |  |  | 1
16 | Citrat trisodic dihidratat | flacon plastic 500 g, min 99% g for analysis, Merck 1064480500 | 1 | 500 g |  | 1
17 | Celuloza microcristalina pentru cromatografie | Puritate > 99 %, Sigma Aldrich 310697-500G | 1 | 500 g |  |  | 1 | 0
18 | Cloroform | ambalaj producator flacon sticla 2,5 litri, 99-99.4 % GR for analysis, Merck, 1024452500 | 12 | 2,5 l | 5 | 7 |  | 0
19 | Clorura de bariu dihidratata | ambalaj producator flacon plastic, 500 g, GR for analysis, Merck cod 1017190500 | 2 | 500 g | 1 | 1
20 | Clorura de fier (III) hexahidrat | Flacon 250 g, Merck, cod. 1039430250 | 0 | 250 g
21 | Clorura de potasiu, solutie 3 mol/l | ambalaj producator flacon de plastic 500 ml, GR for analysis, VWR 83605.260 | 3 | 500 ml |  | 1 | 2
22 | Clorura de sodiu | standard volumetric, material de referinta secundar pentru argentometrie, trasabil la NIST, Certipur, flacon 80 g, Merck cod 1024060080 | 1 | 80 g |  |  | 1
23 | Clorura de sodiu | for 1000 ml, c(NaCl) = 0.1 mol/l (0.1 N) Titrisol® nr cat 1099450001 | 1 | fiola |  | 1
24 | Diclormetan 99% Pestiscan | ambalaj producator, for analysis of dioxins, furans and PCB, Chromasolv | 3 | 2,5 l | 3
25 | Fenol | Merck, cod:822296.0100, puritate min 99%, flacon de 100 G | 1 | 100 g | 0 |  | 1
26 | Feroina | flacon sticla, solutie indicator redox, Merck 1091930100 | 1 | 100 ml |  | 1
27 | Formaldehida 37% | ambalaj producator flacon plastic, 37 %, P.A. Chemical | 10 | litru | 6 |  | 2 | 2
28 | Fosfat disodic (Na2HPO4 x 2 H2O) | Merck, cod1065800500 reactiv pt. analiza, flacon de 500 g | 1 | kg |  |  | 1
29 | Fosfat dipotasic K2HPO4 | flacon plastic,250 grame, P.A, Merck, 1051090250 | 2 | 250 | 1 | 1
30 | Glucoza | ambalaj producator, flacon plastic, 250 gr, Merck, 1083370250 | 2 | 250 g | 1 |  | 1
31 | Hidroxid de sodiu | ambalaj producator flacon plastic 1kg pellette, min. 99 % P.A., Merck 1064981000 | 8 | kg | 5 | 3
32 | Iodura de potasiu | ambalaj producator flacon plastic 1 kg, reactiv P.A. Chemical | 2 | kg | 2
33 | n - Hexane 99% Pestiscan | ambalaj producator flacon sticla 2,5 l, reactiv pentru analiza cromatografica - PESTINORM for capillary GC | 15 | 2,5 l | 15
34 | Pastile insamantare apa CBO5 | PolySeed® BOD Seed Inoculum Capsules, ambalaj producator flacon cu 50 pastile, HACH 2918700 | 2 | flacon 50 pastile | 2
35 | Peroxodisulfat de potasiu | ambalaj producator flacon plastic, 250 g, min. 99% g for analysis Merck, 1050920250(Total nitrogen <0.001%) | 1 | 250 g |  |  |  | 1
36 | Solutie Lugol | pentru microscopie, flacon 1Litru, Merck, Cod 62650, Red to Very Dark Red and Red-Brown and Very Dark Red-Brown,DENSITY D20/4,1.005 - 1.009 | 1 | 1 l |  | 1
37 | Set de reactivi pentru cianuri (Kituri HACH) | HACH, Cod: 2430200, Set reactivi cianuri; PP; 100 teste/pachet; 0.002 - 0.240 mg/L; Pyridine-Pyrazole | 1 | set |  |  | 1
38 | Set de reactivi pentru fenoli (Kituri HACH) | HACH, Cod:2243900 Set reactivi fenol;0-0,200 mg/L,100 teste;metoda 4-Aminoantipyrin | 1 | set |  |  | 1
39 | Silicagel pentru uscare | silicagel bilute 1-4 mm cu indicator pentru umiditate, ambalaj producator flacon plastic 1 kg, Merck 1019721000 | 1 | kg | 1
40 | Solutie amoniac 25% | ambalaj producator, flacon sticla 1 litru, pentru analiza, EMSURE® ACS Reag. Ph Eur Merck 1054321000 | 2 | 1 l | 1 |  |  | 1
41 | Solutie de tiosulfat de sodiu c(Na2S2O3 5 H2O) = 0,1 mol/l (0,1 N) | ambalaj producator flacon plastic 1 L, solutie titripur 0,1 mol/L (0,1N), Merck 1091471000 | 3 | 1 l | 1 | 1 |  | 1
42 | Solutie calibrare oxigen | ambalaj producator flacon plastic 500 ml hanna HI7040-1 | 1 | 500 ml |  |  | 1
43 | Solutie etalon cianuri | traceable to SRM from NIST, K2(Zn(CN)4) in H2O 1000 mg/l CN, ambalaj producator flacon plastic 500 ml, Merck 1195330500, NU LOT HC99140333 | 2 | 500 ml |  |  | 1 | 1
44 | Solutie etalon fosfat | traceable to SRM from NIST, KH2PO4 in H2O 1000 mg/l PO4, ambalaj producator flacon plastic 500 ml, Merck 1198980500 nu lotul HC72676198 | 1 | 500 ml |  |  | 1
45 | Solutie etalon conductivitate 1413 µS/cm | ambalaj producator flacon plastic 250 ml, 1413 µS/cm Mettler Toledo, 51300138 | 2 | 250 ml |  |  | 1 | 1
46 | Solutie etalon pH= 2.0 | ambalaj producator flacon plastic 1000 ml, trasabil NIST, Merck 1094331000 | 1 | 1 l |  |  | 1
47 | Solutie etalon pH= 4,66 | ambalaj producator flacon plastic 1000 ml, trasabil NIST, Merck 107827.1000 | 1 | 1 l |  |  | 1
48 | Solutie etalon pH= 6.88 | ambalaj producator flacon plastic 1000 ml, trasabil NIST, Merck 107294.1000( | 3 | 1 l | 1 | 1 |  | 1
49 | Solutie etalon pH= 9,22 | ambalaj producator flacon plastic 1000 ml, trasabil NIST, Merck 101645.1000 | 1 | 1 l |  |  | 1
50 | Solutie etalon pH= 10,01 | ambalaj producator flacon plastic 500 ml, Hanna, HI-7010L /C | 1 | 500 ml |  |  |  | 1
51 | Solutie etalon pH= 4,01 | WTW / 108700 | 1 | 1000 ml | 1
52 | Solutie etalon pH= 7,01 | WTW / 108702 | 1 | 1000 ml | 1
53 | Solutie etalon pH= 10,01 | WTW / 108805 | 1 | 1000 ml | 1
54 | Solutie etalon sulfat | Na₂SO₄ in H₂O trasabila NIST 1000 mg/l SO₄ Certipur, Merck 1198130500 | 1 | 500 ml |  |  |  | 1
55 | Solutie standard de clorura | NaCl in H2O trasabila NIST 1000 mg/l Cl ,Certipur, flacon plastic, 500 ml, Merck, cod: 1.19897.0500 | 1 | 500 ml |  |  | 1
56 | Soluţie standard nitrat | NaNO₃ in H₂O trasabila NIST 1000 mg/l NO₃ Certipur®, flacon plastic de 500 ml, Merck, cod: 1198110500 | 2 | 500 ml |  |  | 1 | 1
57 | Soluţie standard azot din nitrit | traceable to SRM from NIST, N-NO2 in H2O 40 mg/l N-NO2, flacon plastic 100 ml, Merck, 1250420100 | 1 | 500 ml |  |  | 1
58 | Solutie standard de Crom | traceable to SRM from NIST, Cr(NO3)3in HNO3 0,5 mol/l, 1000 mg /l Cr, flacon plastic de 100 ml, Merck, 1.19779.0100 | 1 | 100 ml |  |  |  | 1
59 | Solutie standard de Nichel | traceable to SRM from NIST, Ni(NO3)2in HNO3 0,5 mol/l, 1000 mg /l Ni, flacon plastic de 100 ml, Merck, 1.19792.0100 | 1 | 100 ml |  |  |  | 1
60 | Solutie standard de amoniu | traceable to SRM from NIST, NH4Cl in H₂O 1000 mg/l NH4 Certipur®, Merck 1198120500 | 1 | 500 ml |  |  |  | 1
61 | Solutie standard de nitrit | traceable to SRM from NIST , NaNO2 in H2O 1000 mg/l NO2, CertiPUR, ambalaj producator flacon plastic 500 ml, Merck, 1198990500 | 1 | 500 ml |  |  |  | 1
62 | Solutie multielement metale | Redoks 1008, 10 mg/l Metale | 1 | 100 ml | 1
63 | ICP multi-element - solutie standard VI | pentru ICP-MS (30 de elemente in acid azotic diluat); Certipur®, Merck, cod: 1105800100 | 1 | 100 ml | 1
64 | GF AAS Multielement standard XVIII | traceable to SRM from NIST 16 elementsin HNO3suprapur 5 % flacon plastic de 100 ml Merk 1095000100 | 1 | 100 ml | 1
65 | Solutie standard de Litiu pentru ICP | trasabil NIST, solutie LiNO₃ in HNO₃ 2-3%, 1000 mg/l Li Certipur®, 170329 Supelco | 1 | 100 ml | 1
66 | Solutie standard de Cobalt pentru ICP | trasabil NIST Co(NO₃)₂ in HNO₃ 2-3% 1000 mg/l Co Certipur®, 170313 Supelco | 1 | 100 ml | 1
67 | Solutie standard de Beriliu pentru ICP | trasabil NIST, solutie Be₄O(C₂H₃O₂)₆ in HNO₃ 2-3%, 1000 mg/l Be Certipur®170305 Supelco | 1 | 100 ml | 1
68 | Solutie standard de Bariu pentru ICP | trasabil NIST, solutie Ba(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Ba Certipur®, Supelco 170304 | 1 | 100 ml | 1
69 | Solutie standard de Aluminiut pentru ICP | trasabil NIST, solutie Al(NO₃)₃ in HNO₃ 2-3%, 1000 mg/l Al Certipur®, 170301 Supelco | 1 | 101 ml | 1
70 | Solutie standard de Bor pentru ICP | trasabil NIST, solutie H₃BO₃ in H₂O, 1000 mg/l B Certipur®, Supelco 170307 | 1 | 102 ml | 1
71 | Solutie standard de Fier pentru ICP | trasabil NIST, solutie Fe(NO₃)₃ in HNO₃ 2-3%, 1000 mg/l Fe Certipur®, 170326 Supelco | 1 | 103 ml | 1
72 | Solutie standard de Mangan pentru ICP | trasabil NIST, solutie Mn(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Mn Certipur® 170332 Supelco | 1 | 104 ml | 1
73 | Solutie standard de Cupru pentru ICP | trasabil NIST, solutie Cu(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Cu Certipur®, 170314 Supelco | 1 | 105 ml | 1
74 | Solutie standard de Zincpentru ICP | trasabil NIST, solutie Zn(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Zn Certipur®, 170369 Supelco | 1 | 106 ml | 1
75 | Solutie standard de Cadmiu pentru ICP | trasabil NIST, solutie Cd(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Cd, Certipur®, 170309 Supelco | 1 | 107 ml | 1
76 | Solutie standard de Plumb pentru ICP | trasabil NIST, solutie Pb(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Pb Certipur®, 170328 Supelco | 1 | 108 ml | 1
77 | Solutie standard de Nichel pentru ICP | trasabil NIST, solutie Ni(NO₃)₂ in HNO₃ 2-3%, 1000 mg/l Ni Certipur®, 170336 Supelco | 1 | 109 ml | 1
78 | Solutie standard de Crom pentru ICP | solutie Cr(NO₃)₃ in HNO₃ 2-3%, 1000 mg/l Cr Certipur®, 170312 Supelco | 1 | 110 ml | 1
79 | Solutie standard de Arsen pentru ICP | trasabil NIST, solutie H₃AsO₄ in HNO₃ 2-3%, 1000 mg/l As Certipur®, 170303 Supelco | 1 | 111 ml | 1
80 | Solutie standard de Seleniu pentru ICP | trasabil NIST, solutie SeO₂ in HNO₃ 2-3%, 1000 mg/l Se Certipur®, 170350 Supelco | 1 | 112 ml | 1
81 | Solutie standard de Vanadiu pentru ICP | trasabil NIST, solutie NH₄VO₃ in HNO₃ 15%, 1000 mg/l V Certipur®, 170366 Supelc | 1 | 113 ml | 1
82 | Solutie standard de Uraniu pentru ICP | trasabil NIST, UO₂(NO₃)₂ in HNO₃ 2-3% 10 mg/l U Certipur®, 170360 Supelco | 1 | 114 ml | 1
83 | Sulfat de argint | ambalaj producator flacon plastic 25 g, min. 99,5 % for analysis, Merck 1015090025 | 5 | 25 g | 2 | 1 | 1 | 1
84 | Sulfat de cupru pentahidrat | ambalaj producator flacon 1 kg, reactiv P.A., min 99 %, Chemical | 1 | kg |  | 1
85 | Sulfat de mangan (II) monohidratat | ambalaj producator flacon plastic 1 kg, reactiv P.A., min 99%, Chemical | 1 | kg | 0 | 1
86 | Sulfat de sodiu anhidru, granulatie mare (0,63 - 2,0 mm) | ambalaj producator flacon plastic 1 kg, pentru analiza, Merck 1066371000 | 5 | kg |  | 1 |  | 4
87 | Tartrat de sodiu si potasiu tetrahidratat | ambalaj producator flacon plastic 500 g, GR for analysis min 99 %, Merck 1080870500 | 4 | 500 g |  | 4 |  | 0
88 | Bicromat de potasiu | flacon sticla 80 grame, min. 99.9% P.A., Merck, 1024030080 | 1 | 80 g | 1
89 | Acid sulfuric tehnic (pt. spalarea sticlariei) | flacon sticla 1.0 litri, 98% g for analysis Chemical | 2 | 1 l |  |  |  | 2
90 | Solutie standard 50mg/l N-NH4 | ambalaj producator flacon plastic, 50 mg N-NH4, Merck HC72604247 | 0 | 50 ml
91 | 4 amino benzen sulfonamida | VWR, 100 gr, 21159.181 | 1 | 100g | 1
92 | Tiosulfat de sodiu 0.1 N (titrofix) | HONEYWELL 38200-1EA Sodium thiosulfate concentrate for 1L standard solution, 0.1 M Na2S2O3 (0.1N) | 3 | 250 g | 1 |  | 2
93 | MRC Oxigen dizolvat | RTC, QCI-263 QC 1077-2ML | 1 | 2 ml |  |  | 1
94 | MRC Consum oxigen-MRC DEMAND | RTC, QC3130-500ML | 1 | 500 ml |  |  | 1
95 | MRC Consum oxigen | FLUKA, RTC QCI-042, QC1297-20ML | 1 | 20 ml | 1
96 | MRC Detergenti | RTC QCI-244, QC1144-20ML | 1 | 20 ml |  |  | 1
97 | MRC Extractibile EPA Method RGO-101X | Multi component mixture ambalaj producator, n-Hexadecane 4000 µg/mLCAS #: 544-76-3 Stearic acid 4000 µg/mLCAS #: 57-11-4flacon sticla, 100 ml, ULTRA SCIENTIFIC, cod RGO-101X | 1 | 100 ml |  |  | 1
98 | MRC Extractibile EPA 1664A Method RGO-101X | Multi component mixture ambalaj producator,n-Hexadecane2000 µg/mLCAS #: 544-76-3 Stearic acid 2000 µg/mLCAS #: 57-11-4, flacon sticla, 100 ml, ULTRA SCIENTIFIC, cod RGO-101X | 1 | 100 ml |  |  | 1
99 | MRC Fenol | Sigma Aldriech QC1167 2 ml | 2 | 2ml |  |  | 2
100 | MRC Fenol | Sigma Aldriech RTC QCI-043-1, QC1246-2ML | 0 | 2 ml
101 | MRC Cianura | ULTRA SCIENTIFIC/QC 1030-2 ML | 1 | 2ml |  |  | 1
102 | MRC Total Cyanide-WPcertified reference material | QC1054-2ML | 0 | 2ml
103 | MRC NT SI PT | SIGMA ALDRIECH, QC1001-2ML | 1 | 2 ml |  |  | 1
104 | MRC Nitrit | FLUKA, RTC , QC1153-2ML | 0 | 2 ml
105 | MRC Nutrienti-NH4,NO3,NO2, PO4 | SIGMA ALDRIECH,QC1166-20ML | 1 | 20 ml |  |  | 1
106 | MRC Nutrienti si clorura NO3,NO2,PO4,CL | RTC, QCI-051, QC3060-500ML | 1 | 20 ml |  |  | 1
107 | MRC pH | SIGMA ALDRIECH, QC1210-250ML | 1 | 250 ML |  |  | 1
108 | MRC pH | SIGMA ALDRIECH, QC1127- 1000ML | 1 |  |  |  | 1
109 | MRC Reziduu filtrabil,susp | SIGMA ALDRIECH,, QC1298-1G | 1 | 1 g |  |  | 1
110 | MRC SUSPENSII, Reziduu | RTC QC1283-1G ,FLUKA | 2 | 1 g | 1 | 1
111 | MRC metale Fortified water - Trace elements | LGC, NWTMDA-52.4 lot 0317 | 1 | 250 ml |  | 1
112 | MRC metale | Environmental Matrix Reference Material TM-15.3 | 1 | 250 ml | 1
113 | MRC metale | Environmental Matrix Reference Material TM-27.4 | 1 | 250 ml | 1
114 | COD Standard solution | traceable to SRM from NIST, 50000 mg /l COD in H2O, flacon plastic de 100 ml, Merck, 1.25035.0100 | 1 | 100 ml |  |  | 1
115 | MRC CCOCr | SIGMA ALDRIECH QC3130-500ML | 1 | 500 ml |  |  | 1
116 | MR Hexaclorbenzen | DRE-C 14160000 | 1 | 250 mg | 1
117 | MR PCB- Mix3 100ng/µl in izooctan(10ml)- | DRE-X 20030300IO | 1 | 10ML | 1
118 | Organochlorine Pesticide MIX AB 200µg/ml | Restek 32291 | 1 | 1 ml | 1
119 | MR Chlorinate Pesticide MIX 1 | DRE YA5080100MB | 1 | 1 ml | 1
120 | MR pesticide mix 33 10yg/ml in izooctan(1 ml)- | CPA chem / RD0089451 | 1 | 1 ml | 1
121 | MR Benzen | DRE C 10535000 | 1 | 1 ml | 1
122 | MR Etilbenzen | DRE C13320000 | 1 | 1 ml | 1
123 | MR o-Xilen | DRE C 17945000 | 1 | 5 ml | 1
124 | MR m-Xilen | DRE C 17945100 | 1 | 1 ml | 1
125 | MR p-Xilen | DRE C 17945200 | 1 | 1 ml | 1
126 | MR Toluen | DRE-C 17594000 | 1 | 1 ml | 1
127 | VOC MIX 20- 200 µg/l fiecare compus | LGC -DRE XA05000020ME | 1 | 1 ml | 1
128 | VOC standard solution -60 compusi (EPA 502) -200 µg/l fiecare compus | CPA chem / RD0089451 | 1 | 1 ml | 1
129 | VOC standard solution -47compusi (EPA 502) -200 µg/l fiecare compus | CPA chem / 92794931 | 1 | 1 ml | 1
130 | MR n-Decan | DRE-30540 | 1 | 5 ml | 1
131 | n- Tetracontan | DRE /C17395500 | 1 | 5 ml | 1
132 | Mineral oil standard mixture -2 components- 10 g/l fiecare | 2 components Quality control Standard of mineral oil (ISO 9377-2-Mod) -2 components: 10 g/l eacc of Mineral oil , Diesel Oil in n- Heptane | 1 | 10 ml | 1
133 | Calcium chloride anhydrous | AnalaR NORMAPUR® ACS, Reag. Ph. Eur. analytical reagent , lach:ner; 30096-AP4-1000 | 4 | kg |  | 4
134 | Oxalat de sodiu | ambalaj producator, flacon plastic 250 g, pro analysis, Merck 1065570250 | 1 | 250 g |  |  |  | 1
135 | Solutie etalon pH = 1.66 | ambalaj producator flacon plastic 250 ml, trasabil NIST, Merck 107294.0250 | 1 | 250 ml |  |  |  | 1
136 | Acetat de sodiu anhidru pentru analiza, EMSURE® ACS,Reag. Ph Eur | ambalaj producator flacon plastic 250 g, Merck 1062680250 | 1 | 250 g |  |  |  | 1
137 | Iodine sublimated for analysis | ambalaj producator flacon plastic 100 g, trasabil NIST, Merck 104761.0100 | 1 | 100 g |  |  |  | 1
Sef Laborator
ing.Adriana Danut